## gridsubs
Row 3 contains the names of relevant pypsa variables
Transformer Name | Start Bus | End Bus | Trafo Res (pu) | Trafo Reac (pu) | Nominal Capacity (MVA)
name | bus0 | bus1 | r | x | s_nom
Purbasadipur_230by132_T1 | Purbasadipur_230kV | Purbasadipur_132kV |  |  | 300
Purbasadipur_230by132_T2 | Purbasadipur_230kV | Purbasadipur_132kV |  | typical | 300
Barapukuria_230by132_T1 | Barapukuria_230kV | Barapukuria_132kV |  |  | 225
Barapukuria_230by132_T2 | Barapukuria_230kV | Barapukuria_132kV |  |  | 300
Barapukuria_230by132_T3 | Barapukuria_230kV | Barapukuria_132kV |  |  | 300
Rahanpur_400by132_T1 | Rahanpur_400kV | Rahanpur_132kV |  |  | 520
Rahanpur_400by132_T2 | Rahanpur_400kV | Rahanpur_132kV |  |  | 520
BoguraWest_400by230_T1 | BoguraWest_400kV | BoguraWest_230kV |  |  | 750
BoguraWest_400by230_T2 | BoguraWest_400kV | BoguraWest_230kV |  |  | 750
BoguraWest_400by230_T3 | BoguraWest_400kV | BoguraWest_230kV |  |  | 750
BoguraSouth_230by132_T1 | BoguraSouth_230kV | BoguraSouth_132kV |  |  | 300
BoguraSouth_230by132_T2 | BoguraSouth_230kV | BoguraSouth_132kV |  |  | 300
BoguraSouth_230by132_T3 | BoguraSouth_230kV | BoguraSouth_132kV |  |  | 225
BoguraSouth_230by132_T4 | BoguraSouth_230kV | BoguraSouth_132kV |  |  | 225
RajshahiNorth_230by132_T1 | RajshahiNorth_230kV | RajshahiNorth_132kV |  |  | 300
RajshahiNorth_230by132_T2 | RajshahiNorth_230kV | RajshahiNorth_132kV |  |  | 300
RNPP_400by230_T1 | RNPP_400kV | RNPP_230kV |  |  | 520
RNPP_400by230_T2 | RNPP_400kV | RNPP_230kV |  |  | 520
Ishurdi_230by132_T1 | Ishurdi_230kV | Ishurdi_132kV |  |  | 225
Ishurdi_230by132_T2 | Ishurdi_230kV | Ishurdi_132kV |  |  | 225
Ishurdi_230by132_T3 | Ishurdi_230kV | Ishurdi_132kV |  |  | 225
Bheramara_230by132_T1 | Bheramara_230kV | Bheramara_132kV |  |  | 225
Bheramara_230by132_T2 | Bheramara_230kV | Bheramara_132kV |  |  | 225
Baghabari_230by132_T1 | Baghabari_230kV | Baghabari_132kV |  |  | 300
Baghabari_230by132_T2 | Baghabari_230kV | Baghabari_132kV |  |  | 225
Faridpur_230by132_T1 | Faridpur_230kV | Faridpur_132kV |  |  | 350
Faridpur_230by132_T2 | Faridpur_230kV | Faridpur_132kV |  |  | 350
Jhenaidah_230by132_T1 | Jhenaidah_230kV | Jhenaidah_132kV |  |  | 300
Jhenaidah_230by132_T2 | Jhenaidah_230kV | Jhenaidah_132kV |  |  | 300
KhulnaSouth_230by132_T1 | KhulnaSouth_230kV | KhulnaSouth_132kV |  |  | 225
KhulnaSouth_230by132_T2 | KhulnaSouth_230kV | KhulnaSouth_132kV |  |  | 225
KhulnaSouth_230by132_T3 | KhulnaSouth_230kV | KhulnaSouth_132kV |  |  | 300
BarishalNorth_230by132_T1 | BarishalNorth_230kV | BarishalNorth_132kV |  |  | 300
BarishalNorth_230by132_T2 | BarishalNorth_230kV | BarishalNorth_132kV |  |  | 300
GopalganjNorth_400by230_T1 | GopalganjNorth_400kV | GopalganjNorth_230kV |  |  | 750
GopalganjNorth_400by132_T1 | GopalganjNorth_400kV | GopalganjNorth_132kV |  |  | 325
GopalganjNorth_400by132_T2 | GopalganjNorth_400kV | GopalganjNorth_132kV |  |  | 325
GopalganjNorth_400by132_T3 | GopalganjNorth_400kV | GopalganjNorth_132kV |  |  | 325
RampalPP_400by230_T1 | RampalPP_400kV | RampalPP_230kV |  |  | 520
RampalPP_400by230_T2 | RampalPP_400kV | RampalPP_230kV |  |  | 520
Payra_400by132_T1 | Payra_400kV | Payra_132kV |  |  | 325
Payra_400by132_T2 | Payra_400kV | Payra_132kV |  |  | 325
Kaliakoir_400by230_T1 | Kaliakoir_400kV | Kaliakoir_230kV |  |  | 520
Kaliakoir_400by230_T2 | Kaliakoir_400kV | Kaliakoir_230kV |  |  | 520
Kaliakoir_400by132_T1 | Kaliakoir_400kV | Kaliakoir_132kV |  |  | 325
Kaliakoir_400by132_T2 | Kaliakoir_400kV | Kaliakoir_132kV |  |  | 325
Kaliakoir_400by132_T3 | Kaliakoir_400kV | Kaliakoir_132kV |  |  | 325
Kaliakoir_400by132_T4 | Kaliakoir_400kV | Kaliakoir_132kV |  |  | 300
Sripur_230by132_T1 | Sripur_230kV | Sripur_132kV |  |  | 300
Sripur_230by132_T2 | Sripur_230kV | Sripur_132kV |  |  | 300
Tongi_230by132_T1 | Tongi_230kV | Tongi_132kV |  |  | 225
Tongi_230by132_T2 | Tongi_230kV | Tongi_132kV |  |  | 225
Tongi_230by132_T3 | Tongi_230kV | Tongi_132kV |  |  | 225
Ghorashal_230by132_T1 | Ghorashal_230kV | Ghorashal_132kV |  |  | 125
Ghorashal_230by132_T2 | Ghorashal_230kV | Ghorashal_132kV |  |  | 125
AshuganjNorth_400by230_T1 | AshuganjNorth_400kV | Ashuganj_230kV |  |  | 325
AshuganjNorth_400by230_T2 | AshuganjNorth_400kV | Ashuganj_230kV |  |  | 325
Ashuganj_230by132_T1 | Ashuganj_230kV | Ashuganj_132kV |  |  | 300
Ashuganj_230by132_T2 | Ashuganj_230kV | Ashuganj_132kV |  |  | 300
Bhulta_400by230_T1 | Bhulta_400kV | Bhulta_230kV |  |  | 520
Bhulta_400by230_T2 | Bhulta_400kV | Bhulta_230kV |  |  | 520
Bhulta_230by132_T1 | Bhulta_230kV | Bhulta_132kV |  |  | 300
Bhulta_230by132_T2 | Bhulta_230kV | Bhulta_132kV |  |  | 300
Aminbazar_400by230_T1 | Aminbazar_400kV | Aminbazar_230kV |  |  | 520
Aminbazar_400by230_T2 | Aminbazar_400kV | Aminbazar_230kV |  |  | 520
Aminbazar_400by230_T3 | Aminbazar_400kV | Aminbazar_230kV |  |  | 520
Aminbazar_230by132_T1 | Aminbazar_230kV | Aminbazar_132kV |  |  | 225
Aminbazar_230by132_T2 | Aminbazar_230kV | Aminbazar_132kV |  |  | 225
Aminbazar_230by132_T3 | Aminbazar_230kV | Aminbazar_132kV |  |  | 225
Keraniganj_230by132_T1 | Keraniganj_230kV | Keraniganj_132kV |  |  | 300
Keraniganj_230by132_T2 | Keraniganj_230kV | Keraniganj_132kV |  |  | 300
Keraniganj_230by132_T3 | Keraniganj_230kV | Keraniganj_132kV |  |  | 300
Agargaon_230by132_T1 | Agargaon_230kV | Agargaon_132kV |  |  | 300
Agargaon_230by132_T2 | Agargaon_230kV | Agargaon_132kV |  |  | 300
Rampura_230by132_T1 | Rampura_230kV | Rampura_132kV |  |  | 450
Rampura_230by132_T2 | Rampura_230kV | Rampura_132kV |  |  | 450
Rampura_230by132_T3 | Rampura_230kV | Rampura_132kV |  |  | 450
Maniknagar_230by132_T1 | Maniknagar_230kV | Maniknagar_132kV |  |  | 300
Maniknagar_230by132_T2 | Maniknagar_230kV | Maniknagar_132kV |  |  | 300
Hasnabad_230by132_T1 | Hasnabad_230kV | Hasnabad_132kV |  |  | 225
Hasnabad_230by132_T2 | Hasnabad_230kV | Hasnabad_132kV |  |  | 225
Hasnabad_230by132_T3 | Hasnabad_230kV | Hasnabad_132kV |  |  | 225
Shyampur_230by132_T1 | Shyampur_230kV | Shyampur_132kV |  |  | 300
Shyampur_230by132_T2 | Shyampur_230kV | Shyampur_132kV |  |  | 300
Siddhirganj_230by132_T1 | Siddhirganj_230kV | Siddhirganj_132kV |  |  | 300
Siddhirganj_230by132_T2 | Siddhirganj_230kV | Siddhirganj_132kV |  |  | 300
Haripur_230by132_T1 | Haripur_230kV | Haripur_132kV |  |  | 225
Haripur_230by132_T2 | Haripur_230kV | Haripur_132kV |  |  | 225
Haripur_230by132_T3 | Haripur_230kV | Haripur_132kV |  |  | 225
Meghnaghat_400by230_T1 | Meghnaghat_400kV | Meghnaghat_230kV |  |  | 750
Meghnaghat_400by230_T2 | Meghnaghat_400kV | Meghnaghat_230kV |  |  | 750
Meghnaghat_400by230_T3 | Meghnaghat_400kV | Meghnaghat_230kV |  |  | 750
Bibiyana_400by230_T1 | Bibiyana_400kV | Bibiyana_230kV |  |  | 520
Bibiyana_400by230_T2 | Bibiyana_400kV | Bibiyana_230kV |  |  | 520
Fenchuganj_230by132_T1 | Fenchuganj_230kV | Fenchuganj_132kV |  |  | 300
Fenchuganj_230by132_T2 | Fenchuganj_230kV | Fenchuganj_132kV |  |  | 300
CumillaNorth_230by132_T1 | CumillaNorth_230kV | CumillaNorth_132kV |  |  | 225
CumillaNorth_230by132_T2 | CumillaNorth_230kV | CumillaNorth_132kV |  |  | 225
CumillaNorth_230by132_T3 | CumillaNorth_230kV | CumillaNorth_132kV |  |  | 225
Feni_230by132_T1 | Feni_230kV | Feni_132kV |  |  | 300
Feni_230by132_T2 | Feni_230kV | Feni_132kV |  |  | 300
Kachua_230by132_T1 | Kachua_230kV | Kachua_132kV |  |  | 350
Kachua_230by132_T2 | Kachua_230kV | Kachua_132kV |  |  | 350
Hathazari_230by132_T1 | Hathazari_230kV | Hathazari_132kV |  |  | 150
Hathazari_230by132_T2 | Hathazari_230kV | Hathazari_132kV |  |  | 150
Hathazari_230by132_T3 | Hathazari_230kV | Hathazari_132kV |  |  | 150
Hathazari_230by132_T4 | Hathazari_230kV | Hathazari_132kV |  |  | 150
Korerhat_400by230_T1 | Korerhat_400kV | Korerhat_230kV |  |  | 1000
Korerhat_400by230_T2 | Korerhat_400kV | Korerhat_230kV |  |  | 1000
Chowmuhani_230by132_T1 | Chowmuhani_230kV | Chowmuhani_132kV |  |  | 350
Chowmuhani_230by132_T2 | Chowmuhani_230kV | Chowmuhani_132kV |  |  | 350
MadunaghatNew_400by230_T1 | MadunaghatNew_400kV | MadunaghatNew_230kV |  |  | 750
MadunaghatNew_400by230_T2 | MadunaghatNew_400kV | MadunaghatNew_230kV |  |  | 750
MadunaghatNew_400by230_T3 | MadunaghatNew_400kV | MadunaghatNew_230kV |  |  | 750
Madunaghat_230by132_T1 | Madunaghat_230kV | Madunaghat_132kV |  |  | 300
Madunaghat_230by132_T2 | Madunaghat_230kV | Madunaghat_132kV |  |  | 300
Madunaghat_230by132_T3 | Madunaghat_230kV | Madunaghat_132kV |  |  | 300
Sikalbaha_230by132_T1 | Sikalbaha_230kV | Sikalbaha_132kV |  |  | 300
Sikalbaha_230by132_T2 | Sikalbaha_230kV | Sikalbaha_132kV |  |  | 300
Rampur_230by132_T1 | Rampur_230kV | Rampur_132kV |  |  | 300
Rampur_230by132_T2 | Rampur_230kV | Rampur_132kV |  |  | 300