## AllPages
400 kV Transmission Line
SN | Name of Lines |  |  | Length in Route km |  |  | Length in Ckt. Km |  |  | No. of Ckt. |  | Conductor
[12 empty] | Name |  | Size
1 | HVDC Bheramara-Bangladesh Border (Baharampur) |  |  | 27.35 |  |  | 54.70 |  |  | Double |  | Twin Finch |  | 1113 MCM
2 | Aminbazar-Meghnaghat |  |  | 55.00 |  |  | 110.00 |  |  | Double |  | Quad Egret |  | 636 MCM
3 | Comilla(N)- Bangladesh Border |  |  | 28.00 |  |  | 56.00 |  |  | Double |  | Twin Finch |  | 1113 MCM
4 | Bibiyana-Kaliakoir |  |  | 169.53 |  |  | 339.06 |  |  | Double |  | Twin Finch |  | 1113 MCM
5 | Ashuganj(N)-Bhulta |  |  | 69.00 |  |  | 138.00 |  |  | Double |  | Twin Finch |  | 1113 MCM
6 | Payra-Gopalganj(N) |  |  | 163.55 |  |  | 327.10 |  |  | Double |  | Quad ACCC Finch |  | 1113 MCM
7 | BSRM- Mirsarai |  |  | 16.50 |  |  | 33.00 |  |  | Double |  | Twin ACCC Finch |  | 1113 MCM
8 | HVDC Bheramara-Bangladesh Border (Baharampur) 2nd |  |  | 27.91 |  |  | 55.83 |  |  | Double |  | Twin Finch |  | 1113 MCM
9 | Payra PP - Payra SS |  |  | 1.20 |  |  | 2.40 |  |  | Double
10 | Banskhali-Madunaghat |  |  | 55.36 |  |  | 110.72 |  |  | Double |  | LL-Quad ACSR Finch |  | 1113 MCM
11 | LILO of Matarbari-Madunaghat |  |  | 3.44 |  |  | 13.74 |  |  | Four |  | LL-Quad ACSR Finch |  | 1113 MCM
12 | Monakosa-Rahanpur |  |  | 29.83 |  |  | 59.65 |  |  | Double |  | Quad ACSR Finch |  | 1113 MCM
13 | Rampal-Gopalganj |  |  | 96.70 |  |  | 193.40 |  |  | Double |  | Quad ACCC Finch |  | 1113 MCM
14 | Gopalganj-Aminbazar(With River) |  |  | 75.30 |  |  | 150.60 |  |  | Double |  | Quad ACCC Finch |  | 1113 MCM
15 | Gopalganj-Aminbazar River Crossing |  |  | 7.50 |  |  | 15.00 |  |  | Double |  | Quad ACCC Finch |  | 1113 MCM
17 | Bogura(West)-Rahanpur |  |  | 104.96 |  |  | 209.92 |  |  | Double |  | Twin ACCC Finch |  | 1113 MCM
18 | Barguna PP - Payra PP |  |  | 27.80 |  |  | 27.80 |  |  | Single |  | Single ACSR Finch |  | 1113 MCM
19 | Matarbari-Banskhali |  |  | 37.77 |  |  | 75.54 |  |  | Double |  | LL-Quad ACSR Finch |  | 1113 MCM
20 | Madunaghat-Meghnaghat |  |  | 217.20 |  |  | 434.40 |  |  | Double |  | LL-Quad ACSR Finch |  | 1113 MCM
21 | Rooppur-Bogura(West) |  |  | 89.92 |  |  | 89.92 |  |  | Single |  | Quad ACCC Finch |  | 1113 MCM
22 | Bogura(West)-Barapukuria |  |  | 112.20 |  |  | 224.39 |  |  | Double |  | Quad ACCC Finch |  | 1113 MCM
23 | LILO of Payra-Gopalganj at Amtali |  |  | 4.73 |  |  | 18.90 |  |  | Double |  | Quad ACCC Finch |  | 1113 MCM
24 | Amtali-RNPL |  |  | 9.90 |  |  | 19.80 |  |  | Double |  | Quad ACSR Finch |  | 1113 MCM
25 | Bogura-Kaliakoir (Upto river crossing) |  |  | 73.23 |  |  | 146.46 |  |  | Double |  | Quad ACCC Finch |  | 1113 MCM
26 | Aminbazar-Kaliakoir |  |  | 50.81 |  |  | 50.81 |  |  | Single |  | Quad ACCC Finch |  | 1113 MCM
27 | Roopur-Gopalganj (overhead) |  |  | 156.29 |  |  | 156.29 |  |  | Single |  | Quad ACCC Finch |  | 1113 MCM
28 | Roopur-Gopalganj (UG) |  |  | 1.71 |  |  | 1.71 |  |  | Single |  | Quad ACCC Finch |  | 1113 MCM
29 | LILO of Madunaghat-Meghnaghat at Korerhat |  |  | 0.07 |  |  | 0.29 |  |  | Four |  | LL-Quad ACSR Finch |  | 1113 MCM
| Total |  |  | 1712.7 |  |  | 3115.4
230 kV Transmission Line
SN | Name of Lines |  |  |  | Length in Route km |  |  | Length in Ckt. Km |  |  | No. of Ckt. |  | Conductor
[13 empty] | Name | Size
1 | Ghorasal-Ishurdi |  |  |  | 175.00 |  |  | 350.00 |  |  | Double |  | Mallard & AAAC | 795 MCM
2 | Tongi - Ghorasal |  |  |  | 27.00 |  |  | 54.00 |  |  | Double |  | ACCC Mallard | 795 MCM
3 | Ghorasal - Ashuganj |  |  |  | 44.00 |  |  | 88.00 |  |  | Double |  | Mallard | 795 MCM
4 | Raojan - Hathazari |  |  |  | 22.50 |  |  | 45.00 |  |  | Double |  | Twin 300 sq.mm
5 | Ashuganj - Comilla North |  |  |  | 79.00 |  |  | 158.00 |  |  | Double |  | Finch | 1113 MCM
6 | Ghorasal - Rampura |  |  |  | 50.00 |  |  | 100.00 |  |  | Double |  | Twin Mallard | 2x795 MCM
7 | Rampura - Haripur |  |  |  | 22.00 |  |  | 44.00 |  |  | Double |  | Twin Mallard | 2x795 MCM
8 | Haripur - Meghnaghat |  |  |  | 12.50 |  |  | 25.00 |  |  | Double |  | Twin Mallard | 2x795 MCM
9 | Meghnaghat - Hasnabad |  |  |  | 24.50 |  |  | 49.00 |  |  | Double |  | Twin Mallard | 2x795 MCM
10 | Comilla North - Hathazari |  |  |  | 151.00 |  |  | 302.00 |  |  | Double |  | Finch | 1113 MCM
11 | AES, Haripur - Haripur |  |  |  | 2.40 |  |  | 4.80 |  |  | Double |  | Finch | 1113 MCM
12 | Comilla North - Meghnaghat |  |  |  | 58.00 |  |  | 116.00 |  |  | Double |  | Twin Mallard | 2x795 MCM
13 | Tongi-Aminbazar |  |  |  | 25.20 |  |  | 50.40 |  |  | Double |  | Twin AAAC | 37/4.176 mm.
14 | Aminbazar-Hasnabad |  |  |  | 21.50 |  |  | 43.00 |  |  | Double |  | Twin AAAC | 37/4.176 mm.
15 | Siddhirganj 210 MW P/S -Haripur |  |  |  | 1.50 |  |  | 1.50 |  |  | Single |  | ACSR | 600 sq. mm.
16 | Ashuganj - Sirajganj |  |  |  | 144.00 |  |  | 288.00 |  |  | Double |  | Twin AAAC | 37/4.176 mm.
17 | Khulna-Bheramara HVDC |  |  |  | 176.50 |  |  | 353.00 |  |  | Double |  | Twin AAAC | 37/4.176 mm.
18 | Bheramara HVDC-Ishurdi |  |  |  | 10.10 |  |  | 20.20 |  |  | Double |  | Twin AAAC | 37/4.176 mm.
19 | Bogra-Barapukuria |  |  |  | 106.00 |  |  | 212.00 |  |  | Double |  | Twin AAAC | 37/4.176 mm.
20 | Sirajganj-Bogra |  |  |  | 72.50 |  |  | 145.00 |  |  | Double |  | Twin AAAC | 37/4.176 mm.
21 | Ishurdi-Baghabari |  |  |  | 55.00 |  |  | 110.00 |  |  | Double |  | Twin AAAC | 37/4.176 mm.
22 | Baghabari-Sirajganj |  |  |  | 38.00 |  |  | 76.00 |  |  | Double |  | Twin AAAC | 37/4.176 mm.
23 | Fenchuganj-Bibiyana |  |  |  | 33.19 |  |  | 67.37 |  |  | Double |  | Twin Mallard | 2x795 MCM
24 | Bibiyana-Comilla(N) |  |  |  | 153.55 |  |  | 307.00 |  |  | Double |  | Twin Mallard | 2x795 MCM
25 | Aminbazar-Old Airport (O/H) |  |  |  | 3.58 |  |  | 7.15 |  |  | Double |  | Twin Mallard | 2x795 MCM
26 | Aminbazar-Old Airport (U/G) |  |  |  | 4.01 |  |  | 8.03 |  |  | Double |  | XLPE | 2000 sq. mm.
27 | Siddhirganj-Maniknagar |  |  |  | 11.00 |  |  | 22.00 |  |  | Double |  | Twin Mallard | 2x795 MCM
28 | Bhola-Barisal |  |  |  | 62.50 |  |  | 125.00 |  |  | Double |  | Twin Mallard | 2x795 MCM
29 | LILO of Comilla(N)-Hathazari line at BSRM |  |  |  | 0.18 |  |  | 0.72 |  |  | Double |  | Finch | 1113 MCM
30 | LILO of Comilla(N)-Hathazari line at AKSPL |  |  |  | 6.50 |  |  | 13.00 |  |  | Double |  | Finch | 1113 MCM
31 | LILO of Aminbazar-Tongi line at Kaliakoir |  |  |  | 31.96 |  |  | 127.83 |  |  | Four |  | Twin AAAC
32 | Bheramara HVDC-Bheramara 230 |  |  |  | 3.00 |  |  | 12.00 |  |  | Double |  | Twin AAAC
33 | LILO of Ghorashal-Rampura at Bhulta |  |  |  | 1.92 |  |  | 3.84 |  |  | Double |  | Twin Mallard | 2x795 MCM
34 | LILO of Haripur-Rampura at Bhulta |  |  |  | 2.62 |  |  | 10.49 |  |  | Four |  | Twin Mallard | 2x795 MCM
35 | Haripur-Siddhirganj |  |  |  | 1.65 |  |  | 3.30 |  |  | Double |  | Twin Mallard | 2x795 MCM
36 | Bheramara HVDC- Ishwardi |  |  |  | 12.80 |  |  | 25.60 |  |  | Double |  | Quad Mallard | 4x795 MCM
37 | LILO of Tongi-Kaliakoir at Kodda PP |  |  |  | 0.94 |  |  | 1.88 |  |  | Double |  | Twin Mallard | 2x795 MCM
38 | LILO of Hasnabad-Aminbazar at Keraniganj |  |  |  | 0.39 |  |  | 1.57 |  |  | Four |  | Twin Mallard | 2x795 MCM
39 | Sikalbaha-Anowara |  |  |  | 17.28 |  |  | 34.56 |  |  | Double |  | Twin Mallard | 2x795 MCM
40 | LILO of Hasnabad-Meghnaghat at Shyampur |  |  |  | 0.12 |  |  | 0.46 |  |  | Four |  | Twin Mallard | 2x795 MCM
41 | Patuakhali-Payra |  |  |  | 46.50 |  |  | 93.00 |  |  | Double |  | Twin ACCC Mallard | 2x795 MCM
42 | Ishurdi-Rajshahi |  |  |  | 79.12 |  |  | 158.24 |  |  | Double |  | Twin Mallard | 2x795 MCM
43 | LILO of Bheramara-Khulna (S) at Jhenaidah |  |  |  | 1.97 |  |  | 7.87 |  |  | Four |  | Twin Mallard | 2x795 MCM
44 | Sikalbaha-Hathazari |  |  |  | 28.35 |  |  | 56.70 |  |  | Double |  | Quad Mallard | 4x795 MCM
45 | Mongla- Khulna(S) |  |  |  | 23.86 |  |  | 47.71 |  |  | Double |  | Twin Mallard | 2x795 MCM
46 | Barishal(N)-Gopalganj |  |  |  | 74.93 |  |  | 149.86 |  |  | Double |  | Twin ACCC Mallard | 2x795 MCM
47 | Gopalganj-Faridpur |  |  |  | 48.88 |  |  | 97.76 |  |  | Double |  | Twin ACCC Mallard | 2x795 MCM
48 | LILO of Sikalbaha-Hathazari at Madunaghat(N) |  |  |  | 5.85 |  |  | 23.40 |  |  | Double |  | Quad Mallard | 4x795 MCM
49 | Rooppur-Baghabari |  |  |  | 65.31 |  |  | 130.62 |  |  | Double |  | Twin ACCC Mallard | 2x795 MCM
50 | Khula 330MW-Khula(S) |  |  |  | 14.00 |  |  | 14.00 |  |  | Single
51 | LILO of Bogura-Barapukuria at Bogura(West) |  |  |  | 11.07 |  |  | 44.26 |  |  | Double |  | Twin Mallard | 2x795 MCM
52 | LILO of Ashuganj-Sirajganj at Sreepur |  |  |  | 1.40 |  |  | 5.60 |  |  | Four |  | Twin Mallard | 2x795 MCM
53 | Madunaght(O)-Madunaghat 400kV |  |  |  | 7.24 |  |  | 14.47 |  |  | Double |  | Twin Mallard | 2x795 MCM
54 | Sonagazi (EGCB)- Mirsarai |  |  |  | 13.30 |  |  | 13.30 |  |  | Single |  | Twin Mallard | 2x795 MCM
55 | Bogura(S)-Noagaon (Partial) |  |  |  | 11.71 |  |  | 23.43 |  |  | Double |  | Twin Mallard | 2x795 MCM
56 | LILO of Bogura(S)-Noagaon |  |  |  | 1.47 |  |  | 5.88 |  |  | Four |  | Twin Mallard | 2x795 MCM
57 | Korerhat-Chowmuhani |  |  |  | 54.00 |  |  | 215.98 |  |  | Four |  | Twin Mallard | 2x795 MCM
58 | Chowmuhani-Kachua |  |  |  | 50.52 |  |  | 202.08 |  |  | Four |  | Twin Mallard | 2x795 MCM
59 | Chowmuhani-Maijdee |  |  |  | 20.42 |  |  | 40.84 |  |  | Double |  | Twin Mallard | 2x795 MCM
60 | Barapukuria-Purbasadipur |  |  |  | 38.70 |  |  | 77.40 |  |  | Double |  | Twin Mallard | 2x795 MCM
61 | Kachua-Gazaria |  |  |  | 48.96 |  |  | 195.85 |  |  | Four |  | Twin Mallard | 2x795 MCM
62 | Ghorasal GIS2AIS double circuit |  |  |  | 1.10 |  |  | 2.20 |  |  | Double |  | XLPE | 2000 sq. mm.
63 | Ghorasal GIS2AIS 3rd Circuit |  |  |  | 1.10 |  |  | 1.10 |  |  | Single |  | XLPE | 2000 sq. mm.
LILO of Cumilla (N)- BSRM at Feni
| Total |  |  |  | 2264.0 |  |  | 5028.3
132 kV Transmission Line
SN | Name of Lines | Length in Route km | Length in Ckt. Km | No. of Ckt. |  | Conductor
[6 empty] | Name |  |  | Size
1 | Shahjibazar-Brahmanbaria | 57.0 | 114 | Double |  | Grosbeak |  |  | 636 MCM
2 | Brahmanbaria-Ashuganj | 16.5 | 33 | Double |  | Grosbeak |  |  | 636 MCM
3 | Ashuganj-Ghorasal | 45.3 | 90.64 | Double |  | ACCC Grosbeak |  |  | 636 MCM
4 | Ghorasal-Narsingdi | 13.35 | 26.7 | Double |  | Grosbeak |  |  | 636 MCM
5 | Narsingdi-Haripur | 34.33 | 34.33 | Single |  | Grosbeak |  |  | 636 MCM
6 | Narsingdi-Bhulta | 15.75 | 15.75 | Single |  | Grosbeak |  |  | 636 MCM
7 | Bhulta-Haripur | 15.25 | 15.25 | Single |  | ACCC Grosbeak |  |  | 636 MCM
8 | Haripur-Siddhirganj | 2.0 | 4 | Double |  | Grosbeak |  |  | 636 MCM
9 | Shahjibazar-Srimangal | 36.2 | 72.4 | Double |  | Grosbeak |  |  | 636 MCM
10 | Srimangal-Fenchuganj | 49.0 | 98 | Double |  | Grosbeak |  |  | 636 MCM
11 | Fenchuganj-Fenchuganj PS | 3.7 | 14.64 | Four |  | ACCC Grosbeak |  |  | 636 MCM
12 | Fenchuganj-Sylhet | 31.7 | 63.4 | Double |  | ACCC Grosbeak |  |  | 636 MCM
13 | Sylhet-Chhatak | 32.9 | 65.8 | Double |  | Grosbeak |  |  | 636 MCM
14 | Kaptai-Hathazari | 45.0 | 90 | Double |  | Grosbeak |  |  | 636 MCM
15 | Hathazari-Baroirhat | 63.3 | 126.512 | Double |  | Grosbeak |  |  | 636 MCM
16 | Feni-Comilla (N) | 66.0 | 132 | Double |  | Grosbeak |  |  | 636 MCM
17 | Comilla (N)- Daudkandi | 55.0 | 110 | Double |  | Grosbeak/AAAC |  |  | 636 MCM
18 | Daudkandi-Sonargaon | 61.7 | 123.4 | Double |  | Grosbeak/AAAC |  |  | 636 MCM
19 | Sonargaon-Haripur | 15.0 | 30 | Double |  | Grosbeak/AAAC |  |  | 636 MCM
20 | Haripur-Siddhirganj | 2.3 | 4.5 | Double |  | Grosbeak |  |  | 636 MCM
21 | Khulshi-Halishahar | 13.0 | 26 | Double |  | Grosbeak |  |  | 636 MCM
22 | Comilla (N)-Chandpur | 77.5 | 77.5 | Single |  | Linnet + Grosbeak |  |  | (336.4 + 636) MCM
23 | Comilla (N)-Comilla (S) | 16 | 16 | Single |  | Grosbeak |  |  | 636 MCM
24 | Comilla (S)-Chandpur | 62 | 62 | Single |  | ACCC Linnet |  |  | 336.4 mCM
25 | Ashuganj-Kishoreganj | 52.0 | 104 | Double |  | ACCC Grosbeak |  |  | 636 MCM
26 | Kishoreganj-Mymensingh | 59.0 | 118 | Double |  | Grosbeak |  |  | 636 MCM
27 | Mymensingh-Jamalpur | 55.0 | 110 | Double |  | ACCC Grosbeak |  |  | 636 MCM
28 | Madunaghat-Sikalbaha | 16.5 | 16.5 | Single |  | Grosbeak |  |  | 636 MCM
29 | Madunaghat-TKC | 8.5 | 8.5 | Single |  | Grosbeak |  |  | 636 MCM
30 | TKC-Sikalbaha | 8.5 | 8.5 | Single |  | Grosbeak |  |  | 636 MCM
31 | Sikalbaha-Dohazari | 32.0 | 64 | Double |  | ACCC Grosbeak |  |  | 636 MCM
32 | Sikalbaha-Juldah | 7.5 | 7.5 | Single |  | AAAC |  |  | 804 sq.mm
33 | Juldah-Halishahar | 8.0 | 8.0 | Single |  | AAAC |  |  | 804 sq.mm
34 | Khulshi-Baroaulia | 15 | 15 | single |  | Grosbeak |  |  | 636 MCM
35 | Khulshi-AKSML | 11 | 11 | single |  | Grosbeak |  |  | 636 MCM
36 | AKSML-Baroaulia | 4 | 4 | single |  | Grosbeak |  |  | 636 MCM
37 | Madunaghat-Khulshi | 13.0 | 13.0 | Single |  | Grosbeak |  |  | 636 MCM
38 | Madunaghat-Khulshi | 13.0 | 13.0 | Single |  | Grosbeak |  |  | 636 MCM
39 | Kaptai-Chandraghona | 11.5 | 23 | Double |  | Grosbeak |  |  | 636 MCM
40 | Chandraghona-Madunaghat | 27.0 | 54 | Double |  | Grosbeak |  |  | 636 MCM
41 | Madunaghat-Hathazari | 10.2 | 20.4 | Double |  | Grosbeak |  |  | 636 MCM
42 | Hathazari-Baroaulia | 11.0 | 22 | Double |  | Grosbeak |  |  | 636 MCM
43 | Dohazari-Cox's Bazar | 87.0 | 174 | Double |  | ACCC Grosbeak |  |  | 636 MCM
44 | Feni-Chowmuhani | 32.0 | 64 | Double |  | Grosbeak |  |  | 636 MCM
45 | Baroaulia- Kabir Steel | 4.0 | 4.0 | Single |  | Grosbeak |  |  | 636 MCM
46 | Mymensingh-Netrokona | 34.0 | 68 | Double |  | Grosbeak |  |  | 636 MCM
47 | Goalpara-Khulna (C) | 1.5 | 3 | Double |  | AAAC |  |  | 804 MCM
48 | Khulna (C)-Noapara | 22.8 | 45.6 | Double |  | AAAC |  |  | 804 MCM
49 | Noapara-Jessore | 27.9 | 55.8 | Double |  | AAAC |  |  | 804 MCM
50 | Jessore-Jhenaidah | 47.5 | 95 | Double |  | AAAC |  |  | 804 MCM
51 | Jhenaidah-Kustia | 43.0 | 86 | Double |  | ACCC AAAC |  |  | 804 MCM
52 | Kustia-Bheramana | 23.0 | 46 | Double |  | ACCC Grosbeak |  |  | 804 MCM
53 | Bheramara-Ishwardi | 10.0 | 20 | Double |  | AAAC |  |  | 804 MCM
54 | Ishwardi-Natore | 42.0 | 84 | Double |  | AAAC |  |  | 804 MCM
55 | Natore-Bogra | 61.0 | 122 | Double |  | AAAC |  |  | 804 MCM
56 | Bogra-Palashbari | 50.0 | 100 | Double |  | AAAC |  |  | 804 MCM
57 | Palashbari-Rangpur | 52.0 | 104 | Double |  | AAAC |  |  | 804 MCM
58 | Rangpur-Saidpur | 41.5 | 83 | Double |  | AAAC |  |  | 804 MCM
59 | Saidpur-Purbasadipur | 24.5 | 49 | Double |  | ACCC Grosbeak |  |  | 804 MCM
60 | Purbasadipur-Thakurgaon | 45.0 | 90 | Double |  | AAAC |  |  | 804 MCM
61 | Barisal-Bhandaria | 49.0 | 49.0 | Single |  | HAWK |  |  | 477 MCM
62 | Bhandaria-Bagerhat | 40.0 | 40.0 | Single |  | HAWK |  |  | 477 MCM
63 | Bagerhat-Mongla | 28.0 | 28.0 | Single |  | HAWK |  |  | 477 MCM
64 | Barisal-Patuakhali | 38.2 | 38.2 | Single |  | HAWK |  |  | 477 MCM
65 | Bheramara-Faridpur | 105.0 | 210 | Double |  | ACCC HAWK |  |  | 477 MCM
66 | Faridpur-Madaripur | 65.5 | 131 | Double |  | HAWK |  |  | 477 MCM
67 | Madaripur-Barisal(N) | 49.0 | 97 | Double |  | HAWK |  |  | 477 MCM
68 | Barishal(N)-Barishal | 10.0 | 20 | Double |  | ACCC HAWK |  |  | 477 MCM
69 | Rajshahi-Natore | 37.0 | 37.0 | Single |  | HAWK |  |  | 477 MCM
70 | Ishwardi-Baghabari | 63.0 | 63.0 | Single |  | HAWK |  |  | 477 MCM
71 | Baghabari-Shahjadpur | 5.0 | 5.0 | Single |  | HAWK |  |  | 477 MCM
72 | Ishwardi-Pabna | 18.0 | 18.0 | Single |  | Grosbeak |  |  | 636 MCM
73 | Pabna-Shahjadpur | 41.0 | 41.0 | Single |  | Grosbeak |  |  | 636 MCM
74 | Bogra-Sirajganj | 66.0 | 132 | Double |  | Grosbeak |  |  | 636 MCM
75 | Sirajganj-Shahjadpur | 34 | 34 | Single |  | Grosbeak |  |  | 636 MCM
76 | Sirajganj-Baghabari | 39.7 | 39.7 | Single |  | Grosbeak |  |  | 636 MCM
77 | Rajshahi-Chapai Nawabganj | 48.0 | 96 | Double |  | Grosbeak |  |  | 636 MCM
78 | Rangpur-Lalmonirhat | 38.0 | 38.0 | Single |  | Grosbeak |  |  | 636 MCM
79 | Bogra-Naogaon | 44.0 | 88 | Double |  | ACCC Grosbeak |  |  | 636 MCM
132 kV Transmission Line
80 | Kabirpur-Tangail | 51.0 | 102 | Double |  | ACCC/ACSR Grosbeak |  |  | 636 MCM
81 | Tongi-Mirpur | 17 | 17 | Single |  | ACCC Grosbeak |  |  | 636 MCM
82 | Tongi-Uttara | 14.5 | 14.5 | Single |  | ACCC Grosbeak |  |  | 636 MCM
83 | Uttara-Mirpur | 8.5 | 8.5 | Single |  | ACCC Grosbeak |  |  | 636 MCM
84 | Mirpur-Aminbazar | 7.0 | 14 | Double |  | ACCC Grosbeak |  |  | 636 MCM
85 | Aminbazar-Kallayanpur | 4.0 | 8 | Double |  | Grosbeak |  |  | 636 MCM
86 | Hasnabad-Lalbagh | 30 | 30 | Single |  | Grosbeak |  |  | 636 MCM
87 | Kamrangirchar-Lalbagh | 2.6 | 2.6 | Single |  | Grosbeak |  |  | 636 MCM
88 | Kallayanpur-Kamrangirchar | 11 | 11 | Single |  | Grosbeak |  |  | 636 MCM
89 | Kallayanpur-Keraniganj | 20 | 20 | Single |  | Grosbeak |  |  | 636 MCM
90 | Hasnabad-Keraniganj | 13.6 | 13.6 | Single |  | Grosbeak |  |  | 636 MCM
91 | Tongi-New Tongi | 0.5 | 1 | Double |  | XLPE |  |  | 500 sq.mm
92 | Hasnabad-Sitalakhya | 12.6 | 12.6 | Single |  | Grosbeak |  |  | 636 MCM
93 | Madanganj-Sitalakhya | 4 | 4 | Single |  | Grosbeak |  |  | 636 MCM
94 | Hasnabad-Shyampur | 21 | 21 | Single |  | Grosbeak |  |  | 636 MCM
95 | Shyampur-Haripur | 30 | 30 | Single |  | Grosbeak |  |  | 636 MCM
96 | Madanganj-Haripur | 12.4 | 12.4 | Single |  | Grosbeak |  |  | 636 MCM
97 | Siddhirganj-Ullon | 16.0 | 32 | Double |  | Grosbeak |  |  | 636 MCM
98 | Haripur-Matuail | 5.65 | 5.65 | Single |  | Grosbeak |  |  | 636 MCM
99 | Maniknagar-Matuail | 16 | 16 | Single |  | Grosbeak |  |  | 636 MCM
100 | Siddhirganj-Maniknagar | 10 | 10 | Single |  | Grosbeak |  |  | 636 MCM
101 | Maniknagar-Narinda | 5.0 | 10 | Double |  | Cu.Cable |  |  | 240 sq.mm
102 | Ullon-Dhanmondi | 5.5 | 11 | Double |  | Cu.Cable |  |  | 240 sq.mm
103 | Ullon-Dhanmondi | 5.5 | 11 | Double |  | XLPE |  |  | 500 sq.mm
104 | Tongi-Kabirpur | 22.5 | 45 | Double |  | Grosbeak |  |  | 636 MCM
105 | Kabirpur-Manikganj | 32.0 | 64 | Double |  | Grosbeak |  |  | 636 MCM
106 | Ullon-Rampura | 4.0 | 8 | Double |  | XLPE |  |  | 800 sq.mm
107 | Rampura-Bashundhara | 8.0 | 16 | Double |  | Grosbeak |  |  | 636 MCM
108 | Bashundhara-Tongi | 11.0 | 22 | Double |  | Grosbeak |  |  | 636 MCM
109 | Rampura-Moghbazar | 4.5 | 9 | Double |  | Grosbeak |  |  | 636 MCM
110 | Ghorasal-Joydevpur | 28.0 | 56 | Double |  | Grosbeak |  |  | 636 MCM
111 | Baghabari-Shahjadpur | 5.5 | 5.5 | Single |  | Grosbeak |  |  | 636 MCM
112 | Chandpur-Chowmuhani | 68.0 | 136 | Double |  | Grosbeak |  |  | 636 MCM
113 | Barapukuria-Rangpur | 42.0 | 84 | Double |  | Grosbeak |  |  | 636 MCM
114 | Barapukuria-Saidpur | 36.0 | 72 | Double |  | ACCC AAAC |  |  | 636 MCM
115 | Madaripur-Gopalganj | 45.0 | 45.0 | Single |  | AAAC |  |  | 804 MCM
116 | Khulna (C)-Khulna(S) | 9.0 | 18 | Double |  | Twin AAAC |  |  | 37/4.176 mm.
117 | Khulna(S)-Satkhira | 47.0 | 94 | Double |  | AAAC |  |  | 804 MCM
118 | Rajshahi-Natore | 40.0 | 40.0 | Single |  | Grosbeak |  |  | 636 MCM
119 | Rampura-Gulshan | 3.3 | 6.6 | Double |  | XLPE |  |  | 800 sq.mm
120 | Sikalbaha-Bakulia | 4.0 | 8 | Double |  | Grosbeak |  |  | 636 MCM
121 | Juldah-Shahmirpur | 6.0 | 12 | Double |  | Grosbeak |  |  | 636 MCM
122 | Khulshi-Bakulia | 15.0 | 30 | Double |  | Grosbeak |  |  | 636 MCM
123 | Haripur-Maniknagar | 13 | 13 | Single |  | Grosbeak |  |  | 636 MCM
124 | Joydevpur-Kodda PP | 8.0 | 16 | Double |  | Grosbeak |  |  | 636 MCM
125 | Kodda PP-Kabirpur | 10.0 | 20 | Double |  | Grosbeak |  |  | 636 MCM
126 | Sikalbaha-Shahmirpur | 9.0 | 18 | Double |  | Grosbeak |  |  | 636 MCM
127 | Khulshi-Halishahar | 13.0 | 13.0 | Single |  | Grosbeak |  |  | 636 MCM
128 | BograOld-BograNew | 1.5 | 3 | Double |  | Twin AAAC |  |  | 37/4.176 mm.
129 | Ashuganj-Shahjibazar | 53.0 | 53.0 | Single |  | Grosbeak |  |  | 636 MCM
130 | Khulna (S) -Gallamari | 4.2 | 8.4 | Double |  | Grosbeak |  |  | 636 MCM
131 | Naogaon-Niyamatpur | 46.0 | 46.0 | Single |  | AAAC |  |  | 804 MCM
132 | Aminbazar-Savar | 15.8 | 31.6 | Double |  | Grosbeak |  |  | 636 MCM
133 | Jhenaidah-Magura | 26.5 | 53.0 | Double |  | Grosbeak |  |  | 636 MCM
134 | Jhenaidah-Chuadanga | 39.3 | 39.3 | Single |  | Grosbeak |  |  | 636 MCM
135 | Naogaon-Joypurhat | 46.2 | 46.2 | Single |  | Grosbeak |  |  | 636 MCM
136 | Thakurgaon-Panchagarh | 45.0 | 45.0 | Single |  | AAAC |  |  | 636 MCM
137 | Sonargaon S/S to Megnaghat Rental PP | 5.0 | 10 | Double |  | Grosbeak |  |  | 636 MCM
138 | Shiddhirganj to Siddhirganj Dutch Bangla PP | 2.4 | 2.4 | Single |  | Grosbeak |  |  | 636 MCM
139 | Goalpara-Khulna © | 2.4 | 2.4 | Single |  | XLPE |  |  | 637 MCM
140 | Noapara PP to Noapara Ss | 1.6 | 1.6 | Single |  | Grosbeak |  |  | 638 MCM
141 | Daudkandi PP to Daudkandi ss | 1.3 | 1.3 | Single |  | Grosbeak |  |  | 639 MCM
142 | Gopalganj PP to Gopalganj ss | 1.2 | 1.2 | Single |  | Grosbeak |  |  | 640 MCM
143 | Shiddhirganj desh energy PP to Siddhirganj ss | 2.5 | 2.5 | Single |  | Grosbeak |  |  | 641 MCM
144 | Faridpur PP to Faridpur -Bheramara | 1.0 | 1.0 | Single |  | Grosbeak |  |  | 642 MCM
145 | Bera PP to Baghabari -Ishwardi line | 4.5 | 4.5 | Single |  | Grosbeak |  |  | 643 MCM
146 | Amnura PP to Rajshahi-Chapai | 12.6 | 12.6 | Single |  | Grosbeak |  |  | 644 MCM
147 | Madanganj-Munsiganj | 4.0 | 8 | Double |  | Grosbeak |  |  | 645 MCM
148 | Old Airport-Cantonment | 7.0 | 13.98 | Double |  | XLPE |  |  | 800 sq.mm
149 | Fenchuganj- Kulaura | 25.0 | 50 | Double |  | Grosbeak |  |  | 636 MCM
150 | Jamalpur- Sherpur | 20.0 | 40 | Double |  | Grosbeak |  |  | 636 MCM
151 | Old Airport-Sajmasjid | 8.3 | 16.588 | Double |  | XLPE |  |  | 800 sq.mm
152 | Rampura-Madertek | 4.5 | 9 | Double |  | XLPE |  |  | 500 sq.mm
153 | Comilla(N)- Comilla(S) | 19.0 | 38 | Double |  | Grosbeak |  |  | 636 MCM
154 | Goalpara-Bagerhat | 45.0 | 90 | Double |  | Grosbeak |  |  | 636 MCM
155 | LILO of Kabirpur-Tangail at Kaliakoir | 4.3 | 17.12 | Four |  | ACCC/ACSR Grosbeak |  |  | 636 MCM
156 | Tangail-RPCL | 93.4 | 186.88 | Double |  | Grosbeak |  |  | 636 MCM
157 | Amnura-Chapai Nawabganj | 12.6 | 12.6 | Single |  | Grosbeak |  |  | 636 MCM
158 | Kaliakoir-Dhamrai | 22.7 | 45.46 | Double |  | Grosbeak |  |  | 636 MCM
159 | Rangamati-Khagrachari | 52.3 | 104.6 | Double |  | Grosbeak |  |  | 636 MCM
132 kV Transmission Line
160 | Chandraghona-Rangamati | 27.7 | 55.4 | Double |  | Grosbeak |  |  | 636 MCM
161 | Chhatak-Sunamganj | 32.1 | 64.1 | Double |  | Grosbeak |  |  | 636 MCM
162 | Beanibazar-Sylhet T-Connection | 30.0 | 60 | Double |  | Grosbeak |  |  | 636 MCM
163 | LILO of Tongi-Mirpur Single circuit at Uttara 3P | 1.1 | 2.2 | Single |  | XLPE |  |  | 800sq
164 | T-connection from Dohazari-Cox's Bazar to Matarbari | 18.1 | 18.1 | Single |  | Grosbeak |  |  | 636 MCM
165 | Feni- Baroirhat | 28.4 | 56.9 | Double |  | ACCC Grosbeak |  |  | 636 MCM
166 | Brahmanbaria-Narsingdi | 54.8 | 109.6 | Double |  | Grosbeak |  |  | 636 MCM
167 | Saidpur-Jaldhaka | 30.0 | 59.902 | Double |  | Grosbeak |  |  | 636 MCM
168 | RNPP-Ishurdi | 7.0 | 14.00 | Double |  | Grosbeak |  |  | 636 MCM
169 | Confedence PP - Bogura 230kV | 7.9 | 15.7 | Double |  | Grosbeak |  |  | 637 MCM
170 | LILO of Jamalpur-Sherpur at United PP | 3.3 | 13.36 | Four |  | Grosbeak |  |  | 638 MCM
171 | LILO of Goalpara-Bagerhat single circuit at Labanchora PP | 6.2 | 12.3 | Double |  | Grosbeak |  |  | 639 MCM
172 | Mymensingh-Bhaluka | 43.0 | 86 | Double |  | Grosbeak |  |  | 636 MCM
173 | LILO of Bogura-Palashbari at Mahasthangarh | 0.7 | 1.36 | Double |  | Grosbeak |  |  | 636 MCM
174 | Modhumati PP - Gopalganj | 14.6 | 14.6 | Single |  | Grosbeak |  |  | 636 MCM
175 | Jashore-Benapole | 30.5 | 60.936 | Double |  | Grosbeak |  |  | 636 MCM
176 | Madaripur-Shariatpur | 22.0 | 44 | Double |  | Grosbeak |  |  | 636 MCM
177 | LILO of Shyampur-Haripur at Shyampur | 0.2 | 0.792 | Four |  | Grosbeak |  |  | 636 MCM
178 | Rangpur-Kurigram | 40.95 | 40.949 | Single |  | Grosbeak |  |  | 636 MCM
179 | Magura-Narail | 39.486 | 78.972 | Double |  | Grosbeak |  |  | 636 MCM
180 | LILO of Bogura-Sirajganj at Sherpur (Bogura) | 0.654 | 2.616 | Four |  | Grosbeak |  |  | 636 MCM
181 | LILO of Rajshahi-Chapai-Nawabganj-Amnura at Rajshahi)N) | 0.406 | 1.624 | Four |  | Grosbeak |  |  | 636 MCM
182 | Rampura-Aftabnagar | 3.66 | 7.32 | Double |  | XLPE |  |  | 800sq
183 | LILO of Feni-Cumilla(N) at Chowddagram | 0.788 | 3.152 | Four |  | Grosbeak |  |  | 636 MCM
184 | LILO of Faridpur-Madaripur line at Gopalganj(N) | 1.53 | 6.12 | Four |  | ACCC Grosbeak |  |  | 636 MCM
185 | LILO of Gopalanj-Madaripur line at Gopalganj(N) | 10.5 | 42 | Four |  | Grosbeak |  |  | 636 MCM
186 | Kodda - Rajendrapur | 24.7 | 49.4 | Double |  | ACCC Grosbeak |  |  | 636 MCM
187 | LILO of Rangpur-Palashbari at Confidence PP | 1.47 | 5.88 | Four |  | AAAC |  |  | 636 MCM
188 | LILO of Khulshi - Halishahar at Rampur | 2.775 | 5.55 | Four |  | XLPE |  |  | 800sq
189 | Rampur-Agrabad | 4.54 | 9.08 | Double |  | XLPE |  |  | 800sq
190 | Keraniganj-Sreenagar | 15.854 | 31.708 | Double |  | Grosbeak |  |  | 636 MCM
191 | Keraniganj-Nawabganj | 27.076 | 54.152 | Double |  | Grosbeak |  |  | 636 MCM
192 | LILO of Shyampur-Haripur at Fatullah | 0.9 | 3.6 | Double |  | XLPE |  |  | 800sq
193 | DU- Dhanmondi | 2.1 | 4.2 | Double |  | XLPE |  |  | 500sq
194 | Bagerhat-Mongla | 28.57 | 57.14 | Double |  | Grosbeak |  |  | 636 MCM
195 | Baghabari-Bangura | 24.84 | 49.68 | Double |  | Grosbeak |  |  | 636 MCM
196 | Bakerganj-Barguna | 50.22 | 50.22 | Single |  | Grosbeak |  |  | 636 MCM
197 | Gallamari- Gopalganj | 51.8 | 103.6 | Double |  | Grosbeak |  |  | 636 MCM
198 | Gopalganj - Madaripur 2nd Ckt | 45 | 45 | Single |  | Grosbeak |  |  | 636 MCM
199 | LILI of Rangpur-Palashbari line at Mithapukur | 0.55 | 2.2 | Four |  | Grosbeak |  |  | 636 MCM
200 | Maniknagar-Kazla | 2.5 | 5 | Double |  | XLPE |  |  | 800sq
201 | Hasnabad-Keraniganj PP line re-routing at Keraniganj | 2.8 | 11.2 | Four |  | Grosbeak |  |  | 636 MCM
202 | Purbachal-Basundhara | 4.731 | 9.462 | Double |  | XLPE |  |  | 800sq
203 | Banani-Basundhara | 13.293 | 26.586 | Double |  | XLPE |  |  | 800sq
204 | LILO of Bhermara-Fardipur at Rajbari | 1.144 | 4.576 | Four |  | Grosbeak |  |  | 636 MCM
205 | S/c LILO of Jhenaidah- Chuadanga at Jhenaidah | 2.915 | 5.83 | Double |  | Grosbeak |  |  | 636 MCM
206 | Keraniganj-Lalbagh& Kamrangirchar four circuit | 3.124 | 12.496 | Four |  | Grosbeak |  |  | 636 MCM
207 | Tongi-Tongi-3 (Mill Gate) | 2.612 | 5.224 | Double |  | XLPE |  |  | 800sq
208 | LILO of Jessore-Jhenaidah d/c line at Jhenaidah | 0.366 | 1.464 | Four |  | Grosbeak |  |  | 636 MCM
209 | Manaknagar-Motijheel | 2.1 | 4.2 | Double |  | XLPE |  |  | 800sq
210 | Motijheel-Bangabhaban | 0.55 | 1.1 | Double |  | XLPE |  |  | 800sq
211 | Madanganj-Char Saidpur | 3.1 | 6.2 | Double |  | Mallard+XLPE |  |  | 800sq
212 | Kamrangirchar-Zigatola | 7 | 14 | Double |  | XLPE |  |  | 800sq
213 | Energaon-Mongla | 8.92 | 8.92 | Single |  | Grosbeak |  |  | 636 MCM
214 | Hasnabad-Postogola | 2 | 4 | Double |  | XLPE |  |  | 800sq
215 | Bashundhara-Purbachal | 5.636 | 11.272 | Double |  | XLPE |  |  | 800sq
216 | Chapai Nawabganj-Rahanpur | 25.876 | 51.752 | Single |  | ACCC Grosbeak |  |  | 636 MCM
217 | LILO of Madunaghat-Khulshi at Sholoshahar | 0.15 | 0.3 | Single |  | XLPE |  |  | 800sq
218 | Madunaghat-Kalurghat | 7.096 | 14.192 | Double |  | XLPE |  |  | 800sq
219 | Khulshi-Halishahar LILO at Rampur | 2.68 | 5.36 | Single |  | XLPE |  |  | 800sq
220 | Sudarganj Solar - Rangpur | 35.7 | 71.4 | Double |  | Grosbeak |  |  | 636 MCM
221 | Rampura-Dhaka University | 7.48 | 14.96 | Double |  | XLPE |  |  | 800sq
222 | Aminbazar 400/132kV transformer connecting 132kV line | 1 | 0.413 | Single
223 | Sripur-Bhaluka | 22.392 | 44.784 | Double |  | Grosbeak |  |  | 636 MCM
224 | LILO of Kaliakoir-Tangail at Mirzapur | 1.6525 | 6.61 | Four |  | ACCC Grosbeak |  |  | 636 MCM
225 | LILO of Sylhet-Fenchuganj at Sylhet(S) | 1.93 | 7.72 | Four |  | ACCC Grosbeak |  |  | 636 MCM
226 | LILO of Sirajganj-Shahjadpur-Baghabari at Ullapara | 2.926 | 11.454 | Four |  | Grosbeak |  |  | 636 MCM
227 | LILO of Madunaghat-Khulshi (Circuit-2) at Sholoshahor substation | 0.757 | 1.514 | Double |  | XLPE |  |  | 800sq
228 | LILO of Niamatpur-Chowdala at Rahanpur | 1.989 | 7.956 | Four |  | Grosbeak |  |  | 636 MCM
132 kV Transmission Line
229 | Bhaluka- Barmi (BR Powergen) | 32.43 | 64.86 | Double |  | ACCC Grosbeak |  |  | 636 MCM
230 | LILO of Tangail-RPCL at Ghatail | 0.805 | 3.22 | Double |  | Grosbeak |  |  | 636 MCM
231 | Niyamatpur-Rahanpur (LILO point) | 28.208 | 56.416 | Double |  | Grosbeak |  |  | 636 MCM
232 | Naogaon-Joypurhat | 47.0 | 47.0 | Single |  | Grosbeak |  |  | 636 MCM
233 | Panchagarh-Thakurgaon | 45.0 | 45.0 | Single |  | Grosbeak |  |  | 636 MCM
234 | US DK - Cox's Bazar | 10.6 | 10.6 | Single |  | Grosbeak |  |  | 636 MCM
235 | Barishal (N)-Bhandaria | 46.5 | 92.912 | Double |  | Grosbeak |  |  | 636 MCM
236 | LILO of Ghorashal-Joydevpur at Pubail | 3.1 | 12.536 | Four |  | Grosbeak |  |  | 636 MCM
237 | Sirangj 68MW Solar-Sirajganj | 9.8 | 19.66 | Double |  | Grosbeak |  |  | 636 MCM
238 | LILO of Cumilla(N)-Daudkandi at Muradnagar | 1.7 | 6.632 | Four |  | Grosbeak |  |  | 636 MCM
239 | LILO of Ashuganj-Kishoreganj at Bajitpur | 0.2 | 0.738 | Four |  | ACCC Grosbeak |  |  | 636 MCM
240 | Rahanpur-Chowdala(Section onward) | 7.2 | 14.316 | Double |  | Grosbeak |  |  | 636 MCM
241 | LILO of Ghatial-RPCL at Muktagacha | 0.6 | 2.572 | Four |  | Grosbeak |  |  | 636 MCM
242 | Muradnagar-Kosba | 23.792 | 47.584 | Double |  | Grosbeak |  |  | 636 MCM
243 | Jhenaidah-Chuadanga | 39.38 | 39.38 | Single |  | Grosbeak |  |  | 636 MCM
244 | Kurigram-Lalmonirht 2nd circuit | 31.216 | 31.216 | Single |  | Grosbeak |  |  | 636 MCM
245 | LILO of Hairpur-Narsinghdi at Bhulta (N) | 0.3265 | 1.306 | Four |  | Grosbeak |  |  | 636 MCM
246 | LILO of Sikalbaha-Dohazari at Patiya | 0.377 | 1.508 | Four |  | ACCC Grosbeak |  |  | 636 MCM
247 | LILO of Halishahar-Khulsi at Anandabazar | 0.201 | 0.804 | Four |  | Grosbeak |  |  | 636 MCM
248 | Cumilla(N)-Chandina | 15.9 | 31.8 | Double |  | Grosbeak |  |  | 636 MCM
249 | Rajendrapur-Sreepur | 20.383 | 40.766 | Double |  | Grosbeak |  |  | 636 MCM
250 | Araihazar-Bhulta | 7.87 | 15.74 | Double |  | Grosbeak |  |  | 636 MCM
251 | Dynamics Solar Plant-Ishurdi | 22 | 44 | Double |  | Grosbeak |  |  | 636 MCM
252 | Kachua-Laksam | 31.847 | 63.694 | Double |  | Grosbeak |  |  | 636 MCM
253 | Chowmuhani-Lakshmipur | 27.142 | 54.284 | Double |  | Grosbeak |  |  | 636 MCM
254 | LILO of Saidpur-Rangpur at Taraganj | 0.32 | 1.28 | Four |  | Grosbeak |  |  | 636 MCM
255 | LILO of Feni-Chowmuhani at Dagunbhuyan | 2.67 | 10.68 | Four |  | Grosbeak |  |  | 636 MCM
256 | Rampura-Basundhara | 11.7 | 23.4 | Double |  | Grosbeak |  |  | 636 MCM
257 | Sripur-Kodda (Partial) | 8.923 | 17.846 | Double |  | Grosbeak |  |  | 636 MCM
258 | Sirajganj Solar-Sirajganj Grid | 9.84 | 19.68 | Double |  | Grosbeak |  |  | 636 MCM
259 | LILO of Ishwardi-Baghabari line at Sathia | 0.6 | 1.2 | Double |  | Grosbeak |  |  | 636 MCM
260 | Kaliganj- Maheshpur | 26.13 | 52.26 | Double |  | Grosbeak |  |  | 636 MCM
261 | LILO of Feni Chauddagram at Feni 230/132 kV | 4.104 | 16.416 | Four |  | Grosbeak |  |  | 636 MCM
262 | LILO of Barishal-Patuakhali at Bakerganj | 2.5 | 5 | Double |  | Grosbeak |  |  | 636 MCM
263 | Sathia-Pabna 64 MW Solar | 34.5 | 69 | Double |  | Grosbeak |  |  | 636 MCM
LILO of Feni Chowmuhani at Feni 230/132 kV
| Total | 5524.8 | 9509.4